## LP JUNIO 2021 V1.0
END USER PRICE LIST - JUNE 2021
APPLICATIONS | FAMILY | CODE | MODELS | NOTE | TOGHETER ON FILOSOPHY | BACKUP TIME CONFIGURATION | END USER PRICE LIST | DEALER | DISTRIBUTOR | VERSION | VOLTAGE | VOLT AMPERE | POWER FACTOR | WATT | UPS SOFTWARE | SNMP (opt) | INPUT | OUTPUT | BATTERY NUMBER | BATTERY AMPERE | PCS PER PACKING | PCS PER PALLET
OFFICE | UPS LINE INTERACTIVE | FGCERAPL802SCH | UPS ERA PLUS 800 SCHUKO TOGETHER ON |  | YES |  | 81.2 | 81.2 | 81.2 | TOWER | 230 V | 800 | 0.7 | 560 | No | No | SCHUKO FIX CABLE | 2 SCHUKO | 1 | 7.2 | 3 | 48
OFFICE | UPS LINE INTERACTIVE | FGCERAPL1202SCH | UPS ERA PLUS 1200 SCHUKO TOGETHER ON |  | YES |  | 132 | 132 | 132 | TOWER | 230 V | 1200 | 0.7 | 840 | Yes | No | SCHUKO FIX CABLE | 2 SCHUKO | 1 | 9 | 3 | 48
OFFICE | UPS LINE INTERACTIVE | FGCERAPL1602SCH | UPS ERA PLUS 1600 SCHUKO TOGETHER ON |  | YES |  | 221 | 221 | 221 | TOWER | 230 V | 1600 | 0.7 | 1120 | Yes | No | SCHUKO FIX CABLE | 2 SCHUKO | 1 | 11 | 3 | 48
OFFICE | UPS LINE INTERACTIVE | FGCERAPL2002IEC | UPS ERA PLUS 2000 IEC TOGETHER ON |  | YES |  | 393 | 393 | 393 | TOWER | 230 V | 2000 | 0.7 | 1400 | Yes | No | IEC INPUT SOCKET | 6 IEC C13 | 2 | 9 | 1 | 30
OFFICE | UPS LINE INTERACTIVE | FGCERAPL2602IEC | UPS ERA PLUS 2600 IEC TOGETHER ON |  | YES |  | 614 | 614 | 614 | TOWER | 230 V | 2600 | 0.7 | 1820 | Yes | No | IEC INPUT SOCKET | 6 IEC C13 | 2 | 11 | 1 | 30
OFFICE | UPS LINE INTERACTIVE | FGCERALCD1102RM | UPS ERA LCD 1.100 RACK MOUNT |  |  |  | 430 | 430 | 430 | RACK MOUNT | 230 V | 1100 | 0.7 | 770 | Yes | No | IEC INPUT SOCKET | 4 IEC C13 | 1 | 7.2 | 1 | 28
OFFICE | UPS LINE INTERACTIVE | FGCERAPLS1002SCH | UPS ERA PLUS STRIP 1000 8 SCHUKO OUTLET TOGETHER ON |  | YES |  | 159 | 159 | 159 | STRIP | 230 V | 1000 | 0.7 | 700 | Yes | No | SCHUKO FIX CABLE | 8 | 1 | 9 | 3 | 54
OFFICE | UPS LINE INTERACTIVE SINEWAVE | FGCEXAPL1000 | UPS EXA PLUS 1000 |  | YES |  | 335 | 335 | 335 | TOWER | 230 V | 1000 | 0.7 | 700 | Yes | No | IEC INPUT SOCKET | 8 IEC C13 | 1 | 7.2 | 1 | 21
OFFICE | UPS LINE INTERACTIVE SINEWAVE | FGCEXAPL1500 | UPS EXA PLUS 1500 |  | YES |  | 461 | 461 | 461 | TOWER | 230 V | 1500 | 0.7 | 1050 | Yes | No | IEC INPUT SOCKET | 8 IEC C13 | 2 | 7.2 | 1 | 21
OFFICE | UPS LINE INTERACTIVE SINEWAVE | FGCEXAPL2000 | UPS EXA PLUS 2000 |  | YES |  | 760 | 760 | 760 | TOWER | 230 V | 2000 | 0.7 | 1400 | Yes | No | IEC INPUT SOCKET | 8 IEC C13 | 2 | 9 | 1 | 21
OFFICE | UPS ON LINE SINGLE PHASE 0,9 | FGCEDP1202RTIEC | UPS EVO DSP PLUS 1200 PF 0,9 RACK/TOWER IEC TOGETHER ON |  | YES |  | 850 | 850 | 850 | RACK-TOWER | 230 V | 1200 | 0.9 | 1080 | Yes | Yes | IEC INPUT SOCKET | 8 IEC C13 | 2 | 9 | 1 | 30
OFFICE | UPS ON LINE SINGLE PHASE 0,9 | FGCEDP2402RTIEC | UPS EVO DSP PLUS 2400 PF 0,9 RACK/TOWER IEC TOGETHER ON |  | YES |  | 1134 | 1134 | 1134 | RACK-TOWER | 230 V | 2400 | 0.9 | 2160 | Yes | Yes | IEC INPUT SOCKET | 8 IEC C13 | 4 | 9 | 1 | 20
OFFICE | UPS ON LINE SINGLE PHASE 0,9 | FGCEDP3602RTIEC | UPS EVO DSP PLUS 3600 PF 0,9 RACK/TOWER IEC TOGETHER ON |  | YES |  | 1451 | 1451 | 1451 | RACK-TOWER | 230 V | 3600 | 0.9 | 3240 | Yes | Yes | IEC INPUT SOCKET | 8 IEC C13 C13 + 1 IEC C19 | 6 | 9 | 1 | 8
OFFICE | UPS ON LINE SINGLE PHASE | FBBEDP3602RT/00 | BATTERY BOX FOR EVO DSP PLUS 3600 RT TOG ETHER ON WHITOUT BATTERY |  | YES |  | 494 | 494 | 494 | RACK-TOWER | 230 V | [5 empty] | BATTERY BOX CONNECTION | BATTERY BOX CONNECTION |  |  | 1 | 8
OFFICE | UPS ON LINE SINGLE PHASE | FBBEDP3602RT/09 | BATTERY BOX FOR EVO DSP PLUS 3600 RT TOG ETHER ON 6 BATTERY 12VDC 9AH |  | YES |  | 754 | 754 | 754 | RACK-TOWER | 230 V | [5 empty] | BATTERY BOX CONNECTION | BATTERY BOX CONNECTION | 6 | 9 | 1 | 8
OFFICE | UPS ON LINE SINGLE PHASE | FBBEDP3602RT/18 | BATTERY BOX FOR EVO DSP PLUS 3600 RT TOG ETHER ON 12 BATTERY 12VDC 9AH |  | YES |  | 1046 | 1046 | 1046 | RACK-TOWER | 230 V | [5 empty] | BATTERY BOX CONNECTION | BATTERY BOX CONNECTION | 12 | 9 | 1 | 8
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP5003MM | UPS EVO DSP PLUS 5.0 MM - PF 0,9 12 BATT ERIES 12VDC 9AH |  |  |  | 1990 | 1990 | 1990 | TOWER | 230 V | 500 | 0.9 | 4500 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 12 | 9 | 1 | 8
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP6503MM | UPS EVO DSP PLUS 6.5 MM - PF 0,9 12 BATT ERIES 12VDC 9AH |  |  |  | 2670 | 2670 | 2670 | TOWER | 230 V | 6500 | 0.9 | 5850 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 12 | 9 | 1 | 8
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP6MM2/00 | UPS EVO DSP PLUS 6.0 MM HE - PF 0,9 WITH OUT BATTERIES |  |  |  | 2164 | 2164 | 2164 | TOWER | 230 V | 6000 | 0.9 | 5400 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP6MM2/C | UPS EVO DSP PLUS 6.0 MM HE - PF 0,9 16 B ATTERIES 12VDC 7.2AH |  |  |  | 2830 | 2830 | 2830 | TOWER | 230 V | 6000 | 0.9 | 5400 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 16 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP6MM2/D | UPS EVO DSP PLUS 6.0 MM HE - PF 0,9 16 B ATTERIES 12VDC 9AH |  |  |  | 2947 | 2947 | 2947 | TOWER | 230 V | 6000 | 0.9 | 5400 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 16 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP6MM2/E | UPS EVO DSP PLUS 6.0 MM HE - PF 0,9 16 B ATTERIES 12VDC 11AH |  |  |  | 3301 | 3301 | 3301 | TOWER | 230 V | 6000 | 0.9 | 5400 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 16 | 11 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP10MM2/00 | UPS EVO DSP PLUS 10.0 MM HE - PF 0,9 WIT HOUT BATTERIES |  |  |  | 2644 | 2644 | 2644 | TOWER | 230 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP10MM2/C | UPS EVO DSP PLUS 10.0 MM HE - PF 0,9 16 BATTERIES 12VDC 7.2AH |  |  |  | 3301 | 3301 | 3301 | TOWER | 230 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 16 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP10MM2/D | UPS EVO DSP PLUS 10.0 MM HE - PF 0,9 16 BATTERIES 12VDC 9AH |  |  |  | 3419 | 3419 | 3419 | TOWER | 230 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 16 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE 0,9 | FGCEVDP10MM2/E | UPS EVO DSP PLUS 10.0 MM HE - PF 0,9 16 BATTERIES 12VDC 11AH |  |  |  | 3773 | 3773 | 3773 | TOWER | 230 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 16 | 11 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/00 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA WITHOUT BATTERIES |  |  | ASK FOR BACKUP TIME PRICE | 1901 | 1901 | 1901 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/07 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 16 BATTERIES 12VDC 7.2AH |  |  |  | 3538 | 3538 | 3538 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 16 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/14 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 32 BATTERIES 12VDC 7.2AH |  |  |  | 4246 | 4246 | 4246 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/21 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 48 BATTERIES 12VDC 7.2AH |  |  |  | 4954 | 4954 | 4954 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 48 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/28 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 64 BATTERIES 12VDC 7.2AH |  |  |  | 5661 | 5661 | 5661 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/09 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 16 BATTERIES 12VDC 9AH |  |  |  | 3657 | 3657 | 3657 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 16 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/18 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 32 BATTERIES 12VDC 9AH |  |  |  | 4471 | 4471 | 4471 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/27 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 48 BATTERIES 12VDC 9AH |  |  |  | 5296 | 5296 | 5296 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 48 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/36 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 64 BATTERIES 12VDC 9AH |  |  |  | 6122 | 6122 | 6122 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/11 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 16 BATTERIES 12VDC 11AH |  |  |  | 3833 | 3833 | 3833 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 16 | 11 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/22 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 32 BATTERIES 12VDC 11AH |  |  |  | 4824 | 4824 | 4824 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 11 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/33 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 48 BATTERIES 12VDC 11AH |  |  |  | 5827 | 5827 | 5827 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 48 | 11 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDP192A/44 | BATTERY BOX FOR EVO DSP PLUS MM 6-10KVA 64 BATTERIES 12VDC 11AH |  |  |  | 6829 | 6829 | 6829 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 11 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FGCEVDP6MMRM/00 | UPS EVO DSP PLUS 6.0 MM HE - PF 0,9 WITH OUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 2572 | 2572 | 2572 | RACK MOUNT | 230 V | 6000 | 0.9 | 5400 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FGCEVDP10MMRM/00 | UPS EVO DSP PLUS 10.0 MM HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 3267 | 3267 | 3267 | RACK MOUNT | 230 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDR192/00 | BATTERY BOX FOR EVO DSP MM RACK MOUNT 6 -10 KVA WITHOUT BATTERIES |  |  |  | 904 | 904 | 904 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDR192/07 | BATTERY BOX FOR EVO DSP MM RACK MOUNT 6 -10 KVA 16 BATTERIES 12VDC 7.2 AH |  |  |  | 1546 | 1546 | 1546 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 16 | 7.2 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDR192/09 | BATTERY BOX FOR EVO DSP MM RACK MOUNT 6 -10 KVA 16 BATTERIES 12VDC 9AH |  |  |  | 1747 | 1747 | 1747 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 16 | 9 | 1
PROFESSIONAL | UPS ON LINE SINGLE PHASE | FBBEVDR192/11 | BATTERY BOX FOR EVO DSP MM RACK MOUNT 6 -10 KVA 16 BATTERIES 12VDC 11 AH |  |  |  | 2017 | 2017 | 2017 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 16 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP10TM/00 | UPS EVO DSP PLUS 10.0 TM PF1 touch disp. w/o batt.(read.20 batt.ins. or 20 ext.) | NEW RAPLACE FGCEVDP10TM2/00 |  | ASK FOR BACKUP TIME PRICE | 4256 | 4256 | 4256 | TOWER | 400V/230 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP10TM/C | UPS EVO DSP PLUS 10.0 TM PF1 with touch LCD display, 20 batt. 12V 7,2Ah | NEW RAPLACE FGCEVDP10TM2/C |  |  | 5008 | 5008 | 5008 | TOWER | 400V/230 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 20 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP10TM/D | UPS EVO DSP PLUS 10.0 TM PF1 with touch LCD display, 20 batt. 12V 9Ah | NEW RAPLACE FGCEVDP10TM2/D |  |  | 5127 | 5127 | 5127 | TOWER | 400V/230 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 20 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP10TM/E | UPS EVO DSP PLUS 10.0 TM PF1 with touch LCD display, 20 batt. 12V 11Ah | NEW RAPLACE FGCEVDP10TM2/E |  |  | 5343 | 5343 | 5343 | TOWER | 400V/230 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 20 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/00 | BATTERY BOX EVO DSP PLUS TT/TM 10 KVA NO BATT.READY FOR 20 BATT. 12VDC 18/120AH |  |  | ASK FOR BACKUP TIME PRICE | 3330 | 3330 | 3330 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/18 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 18AH |  |  |  | 5775 | 5775 | 5775 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 18 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/24 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 24AH |  |  |  | 6716 | 6716 | 6716 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 24 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/40 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 40AH |  |  |  | 8836 | 8836 | 8836 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 40 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/65 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 65AH |  |  |  | 11605 | 11605 | 11605 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 65 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/80 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 80AH |  |  |  | 13205 | 13205 | 13205 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 80 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/100 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 100AH |  |  |  | 15260 | 15260 | 15260 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 100 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/120 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 120AH |  |  |  | 17066 | 17066 | 17066 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 120 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240C2/00 | BATTERY BOX EVO DSP PLUS TT/TM 10 KVA NO BATT.READY FOR 20 BATT. 12VDC 150AH |  |  | ASK FOR BACKUP TIME PRICE | 4102 | 4102 | 4102 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240C2/150 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 150AH |  |  |  | 19478 | 19478 | 19478 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 150 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP20TM/00 | UPS EVO DSP PLUS 20.0 TM PF1 touch disp. w/o batt.(read.32 batt.ins. or 32 ext.) | NEW RAPLACE FGCEVDP20TM2/00 |  | ASK FOR BACKUP TIME PRICE | 5138 | 5138 | 5138 | TOWER | 400V/230 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP20TM/C | UPS EVO DSP PLUS 20.0 TM PF1 with touch LCD display, 32 batt. 12V 7,2Ah | NEW RAPLACE FGCEVDP20TM2/C |  |  | 6371 | 6371 | 6371 | TOWER | 400V/230 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 32 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP20TM/D | UPS EVO DSP PLUS 20.0 TM PF1 with touch LCD display, 32 batt. 12V 9Ah | NEW RAPLACE FGCEVDP20TM2/D |  |  | 6565 | 6565 | 6565 | TOWER | 400V/230 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 32 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEDP20TM/E | UPS EVO DSP PLUS 20.0 TM PF1 with touch LCD display, 32 batt. 12V 11Ah | NEW RAPLACE FGCEVDP20TM2/E |  |  | 6198 | 6198 | 6198 | TOWER | 400V/230 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 32 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/00 | BATTERY BOX EVO DSP PLUS TM 20KVA W/O BA TT. READY 32/64 BATT. 12VDC 9/11AH |  |  | ASK FOR BACKUP TIME PRICE | 2196 | 2196 | 2196 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/09 | BATTERY BOX EVO DSP PLUS TM 20KVA 32 BAT TERIES 12VDC 9AH |  |  |  | 3710 | 3710 | 3710 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/11 | BATTERY BOX EVO DSP PLUS TM 20KVA 32 BAT TERIES 12VDC 11AH |  |  |  | 4045 | 4045 | 4045 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/18 | BATTERY BOX EVO DSP PLUS TM20KVA 64 BAT TERIES 12VDC 9AH |  |  |  | 5235 | 5235 | 5235 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/22 | BATTERY BOX EVO DSP PLUS TM20KVA 64 BAT TERIES 12VDC 11AH |  |  |  | 5906 | 5906 | 5906 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP10TT/00 | UPS EVO DSP PLUS 10.0 TT PF1 touch disp. w/o batt.(read.20 batt.ins. or 20 ext.) | NEW RAPLACE FGCEVDP10TT2/00 |  | ASK FOR BACKUP TIME PRICE | 4081 | 4081 | 4081 | TOWER | 400 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP10TT/C | UPS EVO DSP PLUS 10.0 TT PF1 with touch LCD display, 20 batt. 12V 7,2Ah | NEW RAPLACE FGCEVDP10TT2/C |  |  | 5008 | 5008 | 5008 | TOWER | 400 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 20 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP10TT/D | UPS EVO DSP PLUS 10.0 TT PF1 with touch LCD display, 20 batt. 12V 9Ah | NEW RAPLACE FGCEVDP10TT2/D |  |  | 5127 | 5127 | 5127 | TOWER | 400 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 20 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP10TT/E | UPS EVO DSP PLUS 10.0 TT PF1 with touch LCD display, 20 batt. 12V 11Ah | NEW RAPLACE FGCEVDP10TT2/E |  |  | 5343 | 5343 | 5343 | TOWER | 400 V | 10000 | 1 | 10000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 20 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/00 | BATTERY BOX EVO DSP PLUS TT/TM 10 KVA NO BATT.READY FOR 20 BATT. 12VDC 18/120AH |  |  | ASK FOR BACKUP TIME PRICE | 3330 | 3330 | 3330 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/18 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 18AH |  |  |  | 5775 | 5775 | 5775 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 18 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/24 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 24AH |  |  |  | 6716 | 6716 | 6716 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 24 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/40 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 40AH |  |  |  | 8836 | 8836 | 8836 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 40 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/65 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 65AH |  |  |  | 11605 | 11605 | 11605 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 65 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/80 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 80AH |  |  |  | 13205 | 13205 | 13205 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 80 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/100 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 100AH |  |  |  | 15260 | 15260 | 15260 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 100 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240B2/120 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 120AH |  |  |  | 17066 | 17066 | 17066 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 120 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240C2/00 | BATTERY BOX EVO DSP PLUS TT/TM 10 KVA NO BATT.READY FOR 20 BATT. 12VDC 150AH |  |  | ASK FOR BACKUP TIME PRICE | 4102 | 4102 | 4102 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP240C2/150 | BATTERY BOX EVO DSP PLUS TT/TM 10KVA 20 BATTERIES 12VDC 150AH |  |  |  | 19478 | 19478 | 19478 | [7 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 150 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP20TT/00 | UPS EVO DSP PLUS 20.0 TT PF1 touch disp. w/o batt.(read.32 batt.ins. or 32 ext.) | NEW RAPLACE FGCEVDP20TT2/00 |  | ASK FOR BACKUP TIME PRICE | 4918 | 4918 | 4918 | TOWER | 400 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP20TT/C | UPS EVO DSP PLUS 20.0 TT PF1 with touch LCD display, 32 batt. 12V 7,2Ah | NEW RAPLACE FGCEVDP20TT2/2C |  |  | 6371 | 6371 | 6371 | TOWER | 400 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 32 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP20TT/D | UPS EVO DSP PLUS 20.0 TT PF1 with touch LCD display, 32 batt. 12V 9Ah | NEW RAPLACE FGCEVDP20TT2/2D |  |  | 6565 | 6565 | 6565 | TOWER | 400 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 32 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP20TT/E | UPS EVO DSP PLUS 20.0 TT PF1 with touch LCD display, 32 batt. 12V 11Ah | NEW RAPLACE FGCEVDP20TT2/2E |  |  | 6900 | 6900 | 6900 | TOWER | 400 V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 32 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP30TT/00 | UPS EVO DSP PLUS 30.0 TT PF1 touch disp. w/o batt.(read.64 batt.ins. or 32 ext.) | NEW RAPLACE FGCEVDP30TT2/00 |  | ASK FOR BACKUP TIME PRICE | 7378 | 7378 | 7378 | TOWER | 400 V | 30000 | 1 | 30000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP30TT/2C | UPS EVO DSP PLUS 30.0 TT PF1 with touch LCD display, 64 batt. 12V 7,2Ah | NEW RAPLACE FGCEVDP30TT2/3C |  |  | 10189 | 10189 | 10189 | TOWER | 400 V | 30000 | 1 | 30000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 64 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP30TT/2D | UPS EVO DSP PLUS 30.0 TT PF1 with touch LCD display, 64 batt. 12V 9Ah | NEW RAPLACE FGCEVDP30TT2/3D |  |  | 10577 | 10577 | 10577 | TOWER | 400 V | 30000 | 1 | 30000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 64 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP30TT/2E | UPS EVO DSP PLUS 30.0 TT PF1 with touch LCD display, 64 batt. 12V 11Ah | NEW RAPLACE FGCEVDP30TT2/3E |  |  | 11248 | 11248 | 11248 | TOWER | 400 V | 30000 | 1 | 30000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 64 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP40TT/00 | UPS EVO DSP PLUS 40.0 TT PF1 touch disp. w/o batt.(read.64 batt.ins. or 32 ext.) | NEW RAPLACE FGCEVDP40TT2/00 |  | ASK FOR BACKUP TIME PRICE | 8335 | 8335 | 8335 | TOWER | 400 V | 40000 | 1 | 40000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP40TT/2C | UPS EVO DSP PLUS 40.0 TT PF1 with touch LCD display, 64 batt. 12V 7,2Ah | NEW RAPLACE FGCEVDP40TT2/3C |  |  | 10826 | 10826 | 10826 | TOWER | 400 V | 40000 | 1 | 40000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 64 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP40TT/2D | UPS EVO DSP PLUS 40.0 TT PF1 with touch LCD display, 64 batt. 12V 9Ah | NEW RAPLACE FGCEVDP40TT2/3D |  |  | 11216 | 11216 | 11216 | TOWER | 400 V | 40000 | 1 | 40000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 64 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP40TT/2E | UPS EVO DSP PLUS 40.0 TT PF1 with touch LCD display, 64 batt. 12V 11Ah | NEW RAPLACE FGCEVDP40TT2/3E |  |  | 11886 | 11886 | 11886 | TOWER | 400 V | 40000 | 1 | 40000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK | 64 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/00 | BATTERY BOX EVO DSP PLUS TT 20-30-40KVA W/O BA TT. READY 32/64 BATT. 12VDC 9/11AH |  |  | ASK FOR BACKUP TIME PRICE | 2196 | 2196 | 2196 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/09 | BATTERY BOX EVO DSP PLUS TT 20-30-40KVA 32 BAT TERIES 12VDC 9AH |  |  |  | 3710 | 3710 | 3710 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/11 | BATTERY BOX EVO DSP PLUS TT 20-30-40KVA 32 BAT TERIES 12VDC 11AH |  |  |  | 4045 | 4045 | 4045 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/18 | BATTERY BOX EVO DSP PLUS TT 20-30-40KVA 64 BAT TERIES 12VDC 9AH |  |  |  | 5235 | 5235 | 5235 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDP384A/22 | BATTERY BOX EVO DSP PLUS TT 20-30-40KVA 64 BAT TERIES 12VDC 11AH |  |  |  | 5906 | 5906 | 5906 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 64 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEDP60TT/00 | UPS EVO DSP PLUS 60.0 TT PF1 touch LCD d isplay (32 ext. batt.) |  |  | ASK FOR BACKUP TIME PRICE | 11411 | 11411 | 11411 | TOWER | 400 V | 60000 | 1 | 60000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP80TT/00 | UPS EVO DSP PLUS 80.0 TT HE - PF 0,9 WIT HOUT BATTERIES |  |  |  | 18743 | 18743 | 18743 | TOWER | 400 V | 80000 | 0.9 | 72000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP100TT/00 | UPS EVO DSP PLUS 100.0 TT HE - PF 0,9 WI THOUT BATTERIES |  |  |  | 25200 | 25200 | 25200 | TOWER | 400 V | 100000 | 0.9 | 90000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP120TT/00 | UPS EVO DSP PLUS 120.0 TT HE - PF 0,9 WI THOUT BATTERIES |  |  |  | 26854 | 26854 | 26854 | TOWER | 400 V | 120000 | 0.9 | 108000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP160TT/00 | UPS EVO DSP PLUS 160.0 TT HE - PF 0,9 WI THOUT BATTERIES |  |  |  | 39205 | 39205 | 39205 | TOWER | 400 V | 160000 | 0.9 | 144000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP200TT/00 | UPS EVO DSP PLUS 200.0 TT HE - PF 0,9 WI THOUT BATTERIES |  |  |  | 44580 | 44580 | 44580 | TOWER | 400 V | 200000 | 0.9 | 180000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384B/00 | BATTERY BOX EVO DSP PLUS TT 40-120KVA W/ O BATT. READY 32 BATT. 12VDC 24/40AH |  |  |  | 4424 | 4424 | 4424 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384B/24 | BATTERY BOX EVO DSP PLUS TT 40-80KVA 32 BATTERIES 12VDC 24AH |  |  |  | 9940 | 9940 | 9940 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 24 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384B/40 | BATTERY BOX EVO DSP PLUS TT 40-120KVA 32 BATTERIES 12VDC 40AH |  |  |  | 13205 | 13205 | 13205 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 40 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384C/00 | BATTERY BOX EVO DSP PLUS TT 40-200KVA W/ O BATT. READY 32 BATT. 12VDC 65/80AH |  |  |  | 4553 | 4553 | 4553 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384C/65 | BATTERY BOX EVO DSP PLUS TT 40-160KVA 32 BATTERIES 12VDC 65AH |  |  |  | 17727 | 17727 | 17727 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 65 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384C/80 | BATTERY BOX EVO DSP PLUS TT 40-200KVA 32 BATTERIES 12VDC 80AH |  |  |  | 20181 | 20181 | 20181 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 80 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384D/00 | BATTERY BOX EVO DSP PLUS TT 40-200KVA W/ O BATT. READY 32 BATT. 12VDC 100AH |  |  |  | 4922 | 4922 | 4922 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384D/100 | BATTERY BOX EVO DSP PLUS TT 40-200KVA 32 BATTERIES 12VDC 100AH |  |  |  | 23750 | 23750 | 23750 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 100 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384D/120 | BATTERY BOX EVO DSP PLUS TT 40-200KVA 32 BATTERIES 12VDC 120AH |  |  |  | 26605 | 26605 | 26605 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 120 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384E/00 | BATTERY BOX EVO DSP PLUS TT 40-200KVA W/ O BATT. 32 BATT. 12VDC 140/200AH |  |  |  | 5679 | 5679 | 5679 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384E/140 | BATTERY BOX EVO DSP PLUS TT 40-200KVA 32 BATTERIES 12VDC 140AH |  |  |  | 33786 | 33786 | 33786 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 140 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEP384E/200 | BATTERY BOX EVO DSP PLUS TT 40-200KVA 32 BATTERIES 12VDC 200AH |  |  |  | 48192 | 48192 | 48192 | TOWER | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 32 | 200 | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEVDP10TMRM/00 | UPS EVO DSP PLUS 10.0 TM HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 4675 | 4675 | 4675 | RACK MOUNT | 400V/230 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEVDP15TMRM/00 | UPS EVO DSP PLUS 15.0 TM HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 6693 | 6693 | 6693 | RACK MOUNT | 400V/230 V | 15000 | 0.9 | 13500 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE-SINGLE PHASE | FGCEVDP20TMRM/00 | UPS EVO DSP PLUS 20.0 TM HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 7266 | 7266 | 7266 | RACK MOUNT | 400V/230 V | 20000 | 0.9 | 18000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP10TTRM/00 | UPS EVO DSP PLUS 10.0 TT HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 5248 | 5248 | 5248 | RACK MOUNT | 400 V | 10000 | 0.9 | 9000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP15TTRM/00 | UPS EVO DSP PLUS 15.0 TT HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 7387 | 7387 | 7387 | RACK MOUNT | 400 V | 15000 | 0.9 | 13500 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FGCEVDP20TTRM/00 | UPS EVO DSP PLUS 20.0 TT HE - PF 0,9 WIT HOUT BATTERIES RACK MOUNT |  |  | ASK FOR BACKUP TIME PRICE | 7961 | 7961 | 7961 | RACK MOUNT | 400 V | 20000 | 0.9 | 18000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDR240/00 | BATTERY BOX FOR EVO DSP TM-TT RACK MOUN T WITHOUT BATTERIES |  |  | ASK FOR BACKUP TIME PRICE | 1004 | 1004 | 1004 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDR240/07 | BATTERY BOX FOR EVO DSP TM-TT RACK MOUN T 20 BATTERIES 12VDC 7.2 AH |  |  |  | 1806 | 1806 | 1806 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDR240/09 | BATTERY BOX FOR EVO DSP TM-TT RACK MOUN T 20 BATTERIES 12VDC 9AH |  |  |  | 1925 | 1925 | 1925 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE | FBBEVDR240/11 | BATTERY BOX FOR EVO DSP TM-TT RACK MOUN T 20 BATTERIES 12VDC 11 AH |  |  |  | 2141 | 2141 | 2141 | RACK MOUNT | 230 V | [5 empty] | TERMINALBLOCK | TERMINALBLOCK | 20 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM30A80K | CABINET EVO DSP PLUS MODULAR 30U, STS 80 KVA X 4 UPS MOD. 20KVA |  |  |  | 15088 | 15088 | 15088 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM30A120K | CABINET EVO DSP PLUS MODULAR 30U, STS 12 0KVA X 6 UPS MOD. 20KVA |  |  |  | 16645 | 16645 | 16645 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM42A200K | CABINET EVO DSP PLUS MODULAR 42U, STS 20 0KVA X 10 UPS MOD. 20KVA |  |  |  | 22885 | 22885 | 22885 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM30B90K | CABINET EVO DSP PLUS MODULAR 30U, STS 90 KVA X 3 UPS MOD. 20/30KVA, 12 BATT.MOD. |  |  |  | 12146 | 12146 | 12146 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM30B120K | CABINET EVO DSP PLUS MODULAR 30U, STS 12 0KVA X 4 UPS MOD. 20/30KVA |  |  |  | 12578 | 12578 | 12578 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM30B180K | CABINET EVO DSP PLUS MODULAR 30U, STS 18 0KVA X 6 UPS MOD. 20/30KVA |  |  |  | 15174 | 15174 | 15174 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM42B120K | CABINET EVO DSP PLUS MODULAR 42U, STS 12 0KVA X 4 UPS MOD.20/30KVA, 20 BATT.MOD. |  |  |  | 15607 | 15607 | 15607 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM42B210K | CABINET EVO DSP PLUS MODULAR 42U, STS 21 0KVA X 8 UPS MOD. 20/30KVA |  |  |  | 16472 | 16472 | 16472 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM42B300K | CABINET EVO DSP PLUS MODULAR 42U, STS 30 0KVA X 10 UPS MOD. 20/30KVA |  |  |  | 25362 | 25362 | 25362 | MODULAR | 400V |  |  |  | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM20TT | UPS MODULE EVO DSP PLUS MODULAR 20KVA TT PF 1 |  |  |  | 4424 | 4424 | 4424 | MODULAR | 400V | 20000 | 1 | 20000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPM30TT | UPS MODULE EVO DSP PLUS MODULAR 30KVA TT PF 1 |  |  |  | 4651 | 4651 | 4651 | MODULAR | 400V | 30000 | 1 | 30000 | Yes | Yes | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM30U480A | BATTERY CABINET EVO DSP PLUS MODULAR HE 30U X 28 BATT. MOD. |  |  | ASK FOR BACKUP TIME PRICE | 8383 | 8383 | 8383 | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM42U480A | BATTERY CABINET EVO DSP PLUS MODULAR HE 42U X 40 BATT. MOD. |  |  | ASK FOR BACKUP TIME PRICE | 9366 | 9366 | 9366 | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM42U480B | BATTERY CABINET EVO DSP PLUS MODULAR HE 42U X 40 BATT. 12V 100Ah |  |  | ASK FOR BACKUP TIME PRICE | 11973 | 11973 | 11973 | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM120/00 | BATTERY MODULE UPS EVO DSP PLUS MODULAR HE X 10 BATT. 12V 7/9/11Ah |  |  | ASK FOR BACKUP TIME PRICE | 252 | 252 |  | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM120/07 | BATTERY MODULE UPS EVO DSP PLUS MODULAR HE 10 BATT. 12V 7Ah |  |  |  | 574 | 574 | 574 | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK | 10 | 7.2 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM120/09 | BATTERY MODULE UPS EVO DSP PLUS MODULAR HE 10 BATT. 12V 9Ah |  |  |  | 617 | 617 | 617 | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK | 10 | 9 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FBBEVDPM120/11 | BATTERY MODULE UPS EVO DSP PLUS MODULAR HE 10 BATT. 12V 11Ah |  |  |  | 704 | 704 | 704 | MODULAR | [6 empty] | TERMINALBLOCK | TERMINALBLOCK | 10 | 11 | 1
PROFESSIONAL | UPS ON LINE THREE PHASE MODULAR | FGCEVDPMSL | EXTRA COMMUNICATION SLOT FOR CABINET EVO DSP PLUS MODULAR HE |  |  |  | 163 | 163 | 163 | MODULAR |  |  |  |  | Yes | Yes |  |  |  |  | 1
PROFESSIONAL | ACCESSORIES FOR UPS | ECBWEDP20TT | BATTERY CABLE + CONNECTOR FOR EVO DSP PL US 10-20 TT/TM L.250CM |  |  |  | 63.25 | 63.25 | 63.25 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | ECBWEDP40TT | BATTERY CABLE + CONNECTOR FOR EVO DSP PL US 30-40 TT L.250CM |  |  |  | 183 | 183 | 183 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCATS1601MM | ATS AUTOMATIC TRANSFER SWITCH 16A SINGLE PHASE |  |  |  | 1045 | 1045 | 1045 | RACK MOUNT | 230 V |  |  |  | Yes | Yes |  |  |  |  | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCATS3001MM | ATS AUTOMATIC TRANSFER SWITCH 30A SINGLE PHASE |  |  |  | 1175 | 1175 | 1175 | RACK MOUNT | 230 V |  |  |  | Yes | Yes |  |  |  |  | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCNETAG7 | INTERNAL SNMP INTERFACE FOR UPS EVO DSP MM, EVO DSP PLUS MM-TM-TT, EVO DSP RT |  |  |  | 268 | 268 | 268 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCNETAG9 | INTERNAL SNMP INTERFACE FOR ATS SWITCH + SNMP MANAGER SOFTWARE |  |  |  | 324 | 324 | 324 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCNETAG11 | INT. SNMP HTTPS INTERF. EVO DSP MM, EVO DSP PLUS, EVO DSP RT(ViewPower Pro) |  |  |  | 324 | 324 | 324 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCMODBUS | INT. MODBUS RS485 INTERF. EVO DSP MM, EV O DSP PLUS MM-TM-TT, EVO DSP RT |  |  |  | 197 | 197 | 197 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCEVODSDRY3 | DRY CONTACT INTERFACE DB9 FOR UPS EVO DS P MM, EVO DSP PLUS MM-TM-TT EVO DSP RT |  |  |  | 280 | 280 | 280 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCEVODSDRY4 | DRY CONTACT INTERFACE 9 PIN FOR UPS EVO DSP MM, EVO DSP PLUS MM-TM-TT EVO DSP RT |  |  |  | 268 | 268 | 268 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCBYPMM | BYPASS BOX FOR UPS SINGLE PHASE-SINGLE P HASE 4-6KVA |  |  |  | 450 | 450 | 450 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FGCKITEVORT | KIT RACK POSITIONING FOR UPS AND BATTERY BOX |  |  |  | 40.25 | 40.25 | 40.25 | RACK | [10 empty] | 1
PROFESSIONAL | LEAD ACID BATTERIES FOR UPS | EACPE12V05ATWB | POWER BATTERY TECNOWARE 12V 5AH FASTON 6 ,3 MM |  |  |  | 28.15 | 28.15 | 28.15 | [11 empty] | 10
PROFESSIONAL | LEAD ACID BATTERIES FOR UPS | EACPE12V7A2TWB | POWER BATTERY TECNOWARE 12V 7,2AH FASTON 6,3 MM |  |  |  | 33.3 | 33.3 | 33.3 | [11 empty] | 5
PROFESSIONAL | LEAD ACID BATTERIES FOR UPS | EACPE12V09ATWB | POWER BATTERY TECNOWARE 12V 9AH FASTON 6 ,3 MM |  |  |  | 43.6 | 43.6 | 43.6 | [11 empty] | 5
PROFESSIONAL | LEAD ACID BATTERIES FOR UPS | EACPE12V11ATWB | POWER BATTERY TECNOWARE 12V 11AH FASTON 6,3 MM |  |  |  | 61.8 | 61.8 | 61.8 | [11 empty] | 5
PROFESSIONAL | LEAD ACID BATTERIES FOR UPS | EACPE12V7A2SDTSW | TSW BATTERY 12V 7,2AH FOR EVO RT 2.0/3.0 |  |  |  | 59.25 | 59.25 | 59.25 | [11 empty] | 6
PROFESSIONAL | ACCESSORIES FOR UPS | FGCBYPIEC | BYPASS BOX FOR SINGLE PHASE-SINGLE PHASE UPS 2-4KVA TOWER/RACK-TOWER |  |  |  | 212 | 212 | 212 | [11 empty] | 1
PROFESSIONAL | ACCESSORIES FOR UPS | FMP5IECIG | POWER CLEANER 5: IEC INPUT PLUG - 5 ITAL IAN/SCHUKO OUTPUTS - TOGETHER ON |  |  |  | 22 | 22 | 22 | [7 empty] | IEC | 6 SCHUKO/ITALY |  |  | 12
PROFESSIONAL | ACCESSORIES FOR UPS | FGCNETAG2 | EXTERNAL SNMP INTERFACE NET AGENT FOR UP S 1-PHASE/1-PHASE |  |  |  | 379 | 379 | 379 | [11 empty] | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTEL1K2M | ELECTRONIC SINGLE-PHASE STABILIZER 1200V A |  |  |  | 530 | 530 | 530 | TOWER | 230 V | 1200 | 0.8 | 960 |  |  | SCHUKO FIX CABLE | 2 SCHUKO |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTEL2K5M | ELECTRONIC SINGLE-PHASE STABILIZER 2500V A |  |  |  | 640 | 640 | 640 | TOWER | 230 V | 2500 | 0.8 | 2000 |  |  | SCHUKO FIX CABLE | 2 SCHUKO |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTEL3K5M | ELECTRONIC SINGLE-PHASE STABILIZER 3500V A |  |  |  | 718 | 718 | 718 | TOWER | 230 V | 3500 | 0.8 | 2800 |  |  | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTEL9KM | ELECTRONIC SINGLE-PHASE STABILIZER 9KVA |  |  |  | 1104 | 1104 | 1104 | TOWER | 230 V | 9000 | 0.8 | 7200 |  |  | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTEL12KM | ELECTRONIC SINGLE-PHASE STABILIZER 12KVA |  |  |  | 1598 | 1598 | 1598 | TOWER | 230 V | 12000 | 0.8 | 9600 |  |  | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTEL9KT | ELECTRONIC THREE-PHASE STABILIZER 9KVA |  |  |  | 1400 | 1400 | 1400 | TOWER | 230 V | 9000 | 0.8 | 7200 |  |  | TERMINALBLOCK | TERMINALBLOCK |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESM7K5M | Single-Phase Stabilizer 7,5KVA Servo-Ass isted with µP Electronic Control | NEW |  |  | 1035 | 1035 | 1035 | TOWER | 230 V | 7500 | 0.8 | 6000 | No | No | 230 V | 230 V |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESM10KM | Single-Phase Stabilizer 10KVA Servo-Assi sted with µP Electronic Control | NEW |  |  | 1409 | 1409 | 1409 | TOWER | 230 V | 10000 | 0.8 | 8000 | No | No | 230 V | 230 V |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESM18KM | Single-Phase Stabilizer 18KVA Servo-Assi sted with µP Electronic Control | NEW |  |  | 2703 | 2703 | 2703 | TOWER | 230 V | 18000 | 0.8 | 14400 | No | No | 230 V | 230 V |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESM9KT | Three-Phase Stabilizer 9KVA Servo-Assist ed with µP Electronic Control | NEW |  |  | 2847 | 2847 | 2847 | TOWER | 230 V | 9000 | 0.8 | 7200 | No | No | 400 V | 230 V |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESM25KT | Three-Phase Stabilizer 25KVA Servo-Assis ted with µP Electronic Control | NEW |  |  | 5147 | 5147 | 5147 | TOWER | 230 V | 25000 | 0.8 | 20000 | No | No | 400 V | 230 V |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESM50KT | Three-Phase Stabilizer 50KVA Servo-Assis ted with µP Electronic Control | NEW |  |  | 10465 | 10465 | 10465 | TOWER | 230 V | 50000 | 0.8 | 40000 | No | No | 400 V | 230 V |  |  | 1
PROFESSIONAL | ELECTRONICAL STABILIZER | FSTESC100KT | Three-Phase Stabilizer 100KVA with SCR a nd µP Electronic Control | NEW |  |  | 16388 | 16388 | 16388 | TOWER | 230 V | 100000 | 0.8 | 80000 | No | No | 400 V | 230 V |  |  | 1
PROFESSIONAL | GASOLINE GENERATOR | FGE3200M | GASOLINE GENERETOR 3200VA RECOIL STARTIN G SYSTEM |  |  |  | 655 | 655 | 655 | TOWER | 230 V | 3200 | 0.7 | 2200 | [6 empty] | 1
PROFESSIONAL | GASOLINE GENERATOR | FGE4200E | GASOLINE GENERETOR 4200VA ELECTRICAL STA RTING SYSTEM |  |  |  | 843 | 843 | 843 | TOWER | 230 V | 4200 | 0.7 | 2800 | [6 empty] | 1
PROFESSIONAL | GASOLINE GENERATOR | FGE7800E | GASOLINE GENERETOR 7800VA ELECTRICAL STA RTING SYSTEM |  |  |  | 1922 | 1922 | 1922 | TOWER | 230 V | 7800 | 0.7 | 5500 | [6 empty] | 1
PROFESSIONAL | GASOLINE GENERATOR | FGE9200EA | GASOLINE GENERATOR 9200VA ELECTRICAL/AUT OMATIC STARTING SYSTEM |  |  |  | 2260 | 2260 | 2260 | TOWER | 230 V | 9200 | 0.7 | 6500 | [6 empty] | 1
PROFESSIONAL | GASOLINE GENERATOR | FGEATS9200 | ATS FOR GASOLINE GENERATOR 9200VA ELECTR ICAL/AUTOMATIC STARTING SYSTEM |  |  |  | 363 | 363 | 363 |  | 230 V | 9200 | 0.7 | 6500 | [6 empty] | 1
0